GTI PURE DECOR

GTI PURE DECOR is a multi-layered interlocking looselay vinyl tile with polyurethane treatment (PUR+), 6 mm thick with a dovetail joint, abrasion group T, manufactured by Gerflor using a continuous high pressure process.

GTI PURE DECOR is reinforced with 3 glass fibre grids on either side of an intermediate pressed homogeneous layer. Backing of GTI PURE DECOR is a 4 mm thick black pressed homogeneous layer.

The GTI PURE DECOR surface is a coloured heterogeneous sheet 2 mm (1mm of surface decor and 1 mm of recycling black layer with a glass fibre grid between the two sheets).

The product is 100% recyclable.