MIPOLAM SYMBIOZ

MIPOLAM SYMBIOZ™ is a fully flexible homogeneous compacted floorcovering in sheet, 2m wide, abrasion group T, providing excellent resistance to wear and tear

in high traffic areas. Its weight is 2580 gr/m².

It features a non directional design incorporating coloured chips to ensure an even colour throughout the thickness presenting a nice matt finish.

MIPOLAM SYMBIOZ™contains over 75% sustainable or renewable raw materials. It includes a 100% bio based plasticizer, made of residues from cereals (wheat,

corn…).

This floorcovering is a non emissive product (below the level of VOC measurement accuracy).

The flooring is equipped with Evercare ™, patented surface treatment obtained by UV laser cross-linking offering the best chemical resistance to the main products used in healthcare environment as Betadine, eosin, hydro alcoholic solutions, making the maintenance easy and long lasting the flooring.

This treatment avoids applying any acrylic emulsion throughout the lifetime of the product.

The flooring is antistatic (<2kV), its residual indentation is ≤ 0.02 mm to 150 minutes respecting EN 433.

The flooring complies with EN 649 (34-43) offering a group T wear rating suitable for heavy duty traffic areas and Bfl-s1 fire resistance.

As part of our sustainable development policy, this product is manufactured in the first floor covering plant awarded with the triple certification: iSO 9001 (quality),

iSO 14 001 (environment) and OHSaS 18001 (safety).

The flooring is antistatic (<2kV), its residual indentation is ≤ 0.02 mm to 150 minutes respecting EN 433.

The flooring complies with EN 649 (34-43) offering a group T wear rating suitable for heavy duty traffic areas and Bfl-s1 fire resistance.