CREATION 30 X’PRESS is a synthetic, decorative, flexible, abrasion group T product available in tiles and planks with bevelled edges. It comprises a 0,30mm thick transparent wearlayer.

It is a 4mm compact product, compressed and grained at high pressure, made with a design film, two compact underlayers reinforced with a fibre grid. It includes “Pressure Sensitive Adhesive” (PSA) on the nylon backing allowing no adhesive residue on subfloor after removal.

CREATION 30 X’PRESS is treated with a PUR+ treatment for easy maintenance properties.

CREATION 30 X’PRESS is made with 73% of mineral and 12% inexhaustible materials. It is made with 100% control recycled materials. It is 100% compliant with REACH. The product emission rate of organic compounds is < 100µg/m3 (TVOC <28 days – ISO 16000-6). It is 100% recyclable.

ARGUMENTAIRES

Ready to use :

• Looselay = Pressure Sensitive Adhesive (PSA) included on the backing of the product

• Direct installation on existing subfloor (In compliance with Gerflor's installation guidelines)

• Clean and quiet for easy installation in busy areas

Removable:

• No tools needed to remove floor

• Easy to replace a single plank

• Subfloor is clean after removal: no messy adhesive residue

Easy :

• One tool required: a sharp blade

• Just press to install the product