Mipolam Technic EL5

MIPOLAM TECHNIC EL5 is a static-conductive, flexible homogeneous vinyl floorcovering with an electrical resistance of 5 x 104 ≤ Rt ≤ 106 (EN 1081), available in tiles.

The conductive carbon coated PVC pellets create the permanent static-conductive properties.

It complies with EN 649.